| CERTIFICATE of COMPLIANCE |  |  | OVERALL RATING |  |
| --- | --- | --- | --- | --- |
|  |  |  | U-Factor: (Btu/hft2F) |  |
| Certificate Authorization |  |  | SHGC: |  |
|  |  |  | Directions: Fill out form completely. Determine the Overall Rating for this project by using the C.O.G. U-Factor and C.O.G. SHGC from Table 1 and looking up the overall rating from Table 2. Indicate the Overall Rating in the space above. Linear interpolation is permitted. |  |
| Name: |  | Company: |  |  |
| Signature: |  | Date: |  |  |
| CERTIFIES THAT THE MATERIALS LISTED ON THIS CERTIFICATE WERE INSTALLED ON THE PROJECT IDENTIFIED BELOW. |  |  |  |  |

|  | PROJECT INFORMATION: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Street Address: |  |  |  |  |  |
|  | City: |  | State: |  | Zip: |  |
|  | GLAZING CONTRACTOR / INSTALLER: |  | Contact Person: |  |  |  |
|  | Street Address: |  | Phone Number: |  |  |  |
|  | City: |  | State: |  | Zip: |  |

| TABLE 1 – GLAZING | GLAZING MATERIAL SUPPLIER: |  |  | Contact Person: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Street Address: |  |  | Phone Number: |  |  |  |
|  | City: |  |  | State: |  | Zip: |  |
|  | Glass and Spacer Type: |  |  |  |  |  |  |
|  | Center-of-glass (C.O.G.) U-factor: |  |  | Center-of-glass (C.O.G.) SHGC: |  |  |  |
|  |  | Btu/hft2F |  |  |  |  |  |

| TABLE 2 – FRAMING | FRAMING MATERIAL SUPPLIER: |  |  |  |  | Contact Person: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | YKK AP America Inc. |  |  |  |  | David Warden |  |  |  |
|  | Street Address: |  |  |  |  | Phone Number: |  |  |  |
|  | 270 Riverside Parkway, Suite A |  |  |  |  | 800-955-9551 |  |  |  |
|  | City: |  |  |  |  | State: |  | Zip: |  |
|  | Austell |  |  |  |  | GA |  | 30168 |  |
|  | U-factor Matrix (Btu/hft2F) |  | SHGC Matrix |  |  | Product Line: |  |  |  |
|  | C.O.G. U-factor | OVERALL U-factor | C.O.G. SHGC | OVERALL SHGC |  | YES 45 TU w/ BE9-2605 |  |  |  |
|  | 0.48 | 0.54 | 0.75 | 0.67 |  | The overall ratings for U-factor and SHGC are based on a size of 2000 mm x 2000 mm (78 3/4 in x 78 3/4 in) as required in NFRC 100. |  |  |  |
|  | 0.46 | 0.53 | 0.70 | 0.63 64 |  |  |  |  |  |
|  | 0.44 | 0.51 | 0.65 | 0.58 |  |  |  |  |  |
|  | 0.42 | 0.49 | 0.60 | 0.54 |  |  |  |  |  |
|  | 0.40 | 0.48 | 0.55 | 0.49 |  |  |  |  |  |
|  | 0.38 | 0.46 | 0.50 | 0.45 |  | Overall U-factors and Solar Heat Gain Coefficients (SHGC) listed in the matrix were determined in accordance with NFRC 100 and NFRC 200 respectively by a NFRC accredited laboratory. |  |  |  |
|  | 0.36 | 0.45 | 0.45 | 0.41 |  |  |  |  |  |
|  | 0.34 | 0.43 | 0.40 | 0.36 |  |  |  |  |  |
|  | 0.32 | 0.41 | 0.35 | 0.32 |  |  |  |  |  |
|  | 0.30 | 0.40 | 0.30 | 0.27 |  | ACCREDITED LABORATORY: |  |  |  |
|  | 0.28 | 0.38 | 0.25 | 0.23 |  | Architectural Testing |  |  |  |
|  | 0.26 | 0.36 | 0.20 | 0.18 |  |  |  |  |  |
|  | 0.24 | 0.35 | 0.15 | 0.14 |  | Reference Test Report #: |  |  |  |
|  | 0.22 | 0.33 | 0.10 | 0.10 |  | B6796.03-116-45 |  |  |  |
|  | 0.20 | 0.32 | 0.05 | 0.05 |  |  |  |  |  |