PART 1 GENERAL

Furnish all necessary materials, labor, and equipment for the complete installation of the sloped glazing system as shown on the drawings and specified herein.

1.01  SUMMARY

Profiles shown and specifications are based on sloped glazing systems manufactured by YKK AP America Inc., Series

YSK 750.  Whenever substitute products are to be considered, supporting technical data, samples and test reports must be submitted ten (10) working days prior to bid date in order to  make a valid comparison.

A. Section includes: Aluminum Sloped Glazing Systems

1.  YKK AP Series YSK 750 Aluminum Sloped Glazing System

B. Related Sections:

1.  Sealants:   Refer to Division 7 Joint Treatment Section for sealant requirements.

2.  Glass and Glazing:  Refer to Division 8 Glass and Glazing Section for glass and glazing requirements.

3.  Single Source Requirement:  All products listed below shall be by the same manufacturer.

a.  Section 08 32 13 Sliding Aluminum-Framed Glass Doors.

b.  Section 08 41 13 Aluminum-Framed Entrances & Storefronts.

c.  Section 08 51 13 Aluminum Windows.

d.  Section 08 44 13 Glazed Aluminum Curtain Walls.

1.02  SYSTEM PERFORMANCE DESCRIPTION

A. Performance Requirements:  Provide aluminum sloped glazing systems that comply with performance

requirements indicated, as demonstrated by testing manufacturer's assemblies in accordance with test method

indicated:

1.    Wind Loads:  Completed system shall withstand wind pressure loads normal to wall plane indicated:

a.  Exterior Walls:

1) Positive Pressure:

2) Negative Pressure:

b.  Interior Walls (Pressure Acting in Either Direction):

2.  	Deflection:   Maximum allowable deflection in any member when tested in accordance with ASTM E

330-90 ith allowable stress in accordance with AA Specifications for Aluminum Structures

- L/175 or 3/4" (19.1mm) maximum.

3.  	Thermal Movement:  Provide for thermal movement caused by 180 degrees F. (82.2 degrees C) surface

temperature, without causing buckling stresses on glass, joint seal failure, undue stress on structural

elements, damaging loads on fasteners, reduction of performance, or detrimental effects.

4.	Air Infiltration:   Completed slope glazing systems shall have 0.03 CFM/FT2 (0.55 m3/h·m2) maximum

allowable infiltration when tested in accordance with ASTM E 283-91 at differential static pressure of

6.24 PSF (299 Pa).

5.	Water infiltration (Static):  No uncontrolled water on indoor face of any component when tested in

accordance with ASTM E 331-93 at a static pressure of 18 PSF (808 Pa).

Water Infiltration (Dynamic):   No uncontrolled water on indoor face of any component when tested in

accordance with AAMA 501.1 at a dynamic pressure equivalent of 15 PSF (718 Pa).

1.03 SUBMITTALS

A.	General: Prepare and submit product data, shop drawings, samples, and similar submittals as required to

verify compliance with specifications and insure overall quality.

B. 	Shop Drawings:  Submit shop drawings showing layout, profiles, and product components. Including

anchorage, accessories, finish colors and textures.

C. 	Substitutions:   Whenever substitute products are to be considered, supporting technical data, samples and

test reports must be submitted ten (10) working days prior to bid date in order to make a valid comparison.

D. Samples:  Submit verification samples for colors on actual aluminum substrates.

E.  Quality Assurance / Control Submittals:

1.  	Test Reports:   Submit certified test reports showing compliance with specified performance

characteristics and physical properties.

2.   Installer Qualification Data:   Submit installer qualification data.

1.04 QUALITY ASSURANCE

A. Qualifications:

1.	Installer Qualifications:   Installer experienced (as determined by contractor) to perform work of this

section who	has specialized in the installation of work similar to that required for this project. If

requested by Owner, submit reference list of completed projects.

2. 	Manufacturer Qualifications:  Manufacturer capable of providing field service representation during

construction process.

3.	Pre Installation Meetings:  Conduct installation meeting to verify project requirements, substrate

conditions, manufacturer's warranty requirements.

1.05  PROJECT CONDITIONS / SITE CONDITIONS

A. Field Measurements:  Verify actual measurements/openings by field measurements before fabrication; show recorded

measurements on shop drawings. Coordinate field measurements, fabrication schedule with construction progress to

avoid construction delays.

1.06  WARRANTY

A. 	Project Warranty:  Refer to "Conditions of the Contract" for project warranty provisions.

B.	 Manufacturer's Warranty:  Submit, for Owner's acceptance, manufacturer's standard warranty document

executed by authorized company official. Manufacturer's warranty is in addition to, and not a limitation of,

other rights Owner may have under the Contract Documents.

1. 	Beneficiary:   Issue warranty in the legal name of the project Owner.

2.  	Warranty Period:  Manufacturer's Standard Warranty commencing on Date of Substantial Completion.

.

PART 2 PRODUCTS

2.01  MANUFACTURERS (Acceptable Manufacturers/Products)

A. Acceptable Manufacturers:  YKK AP America Inc. 	101 Marietta Street NW, Suite 2100

Atlanta, GA 30303

Telephone: (678) 838-6000; Fax: (678) 838-6001

1. Mid-Rise Sloped Glazing System:  YKK AP YSK 750 Mid-Rise Sloped Glazing System.

2.02  MATERIALS

A. 	Extrusions:  ASTM B 221 (ASTM B 221M), 6063-T5 Aluminum Alloy.

B. 	Aluminum Sheet:

1.  	Anodized Finish:  ASTM B 209 (ASTM B 209M), 5005-H14 Aluminum Alloy, 0.050" (1.27 mm)

minimum thickness.

2.  	Painted Finish:  ASTM B 209 (ASTM B 209M), 3003-H14 Aluminum Alloy, 0.080" (1.95 mm)

minimum thickness.

2.03  ACCESSORIES

A. 	Manufacturer's Standard Accessories:

1.  	Fasteners:   Zinc plated steel concealed fasteners; Hardened aluminum alloys or AISI 300 series stainless

steel exposed fasteners, countersunk, finish to match aluminum color.

2.  	Sealant:   Non-skinning type, AAMA 803.3

3. 	Glazing:   Setting blocks, edge blocks, and spacers in accordance with ASTM C 864, shore durometer

hardness as recommended by manufacturer; Glazing gaskets in accordance with ASTM C 864.

2.04   RELATED MATERIALS (Specified In Other Sections)

A. 	Glass:  Refer to Division 8 Glass and Glazing Section for glass materials.

2.05  FABRICATION

A. 	Shop Assembly:  Fabricate and assemble units with joints only at intersection of aluminum members with

uniform hairline joints; rigidly secure, and sealed in accordance with manufacturer's recommendations.

1.  	Hardware:  Drill and cut to template for hardware. Reinforce frames and door stiles to receive hardware in

accordance with  manufacturer's recommendations.

2.  	Welding:  Conceal welds on aluminum members in accordance with AWS recommendations or methods

recommended by manufacturer. Members showing welding bloom or discoloration on finish or material

distortion will be rejected.

2.06  FINISHES AND COLORS

A. 	Anodized Finish: YKK AP America Anodized Plus® Finish:

1.  Clear:   YKK AP YS1N with clear protective composite coating.

2.  Medium Bronze:  YKK AP YB1N with clear protective composite coating.

3.  Dark Bronze:  YKK AP YB5N with clear protective composite coating.

4.  Black:  YKK AP YK1N with clear protective composite coating.

5.  Champagne: YKK AP YH3N with clear protective composite coating.

6.  White: YKK AP YW3N with protective composite coating.

B. 	Anodized Finishing:  Prepare aluminum surfaces for specified finish; apply shop finish in accordance with the

following:

1.  	Anodic Coating:  Electrolytic color coating followed by an organic seal applied in accordance with the

requirements 	of AAMA 612-02. Aluminum extrusions shall be produced from quality controlled billets

meeting AA-6063-T5.

a.  	Exposed Surfaces shall be free of scratches and other serious blemishes.

b.  	Extrusions shall be given a caustic etch followed by an anodic oxide treatment and then sealed with an

organic coating applied with an electrodeposition process.

c.  	The anodized coating shall comply with all of the requirements of AAMA 612-02: Voluntary

Specifications, Performance Requirements and Test Procedures for Combined Coatings of Anodic

Oxide and Transparent Organic Coatings on Architectural Aluminum. Testing shall demonstrate the

ability of the finish to resist damage from mortar, salt spray, and chemicals commonly found on

construction sites, and to resist the loss of color and gloss.

d.  	Overall coating thickness for finishes shall be a minimum of 0.7 mils.

C.	High Performance Organic Coating Finish:

1.  	Type Factory applied two-coat 70% Kynar resin by Arkema or 70% Hylar resin by Solvay Solexis,

fluoropolymer based coating system, Polyvinylidene Fluoride (PVF-2), applied in accordance with YKK

AP procedures and meeting AAMA 2605 specifications.

2.  	Colors: Selected by Architect from the following:

a.  Standard coating color charts.

b.  Custom coating color charts.

c.  Color Name and Number:

D. 	Finishes Testing:

1.  	Apply 0.5% solution NaOh, sodium hydroxide, to small area of finished sample area; leave in place for

sixty minutes; lightly wipe off NaOh; Do not clean area further.

2.  	Submit samples with test area noted on each sample.

PART 3 EXECUTION

3.01  MANUFACTURER'S INSTRUCTIONS / RECOMMENDATIONS

A. 	Compliance:  Comply with manufacturer's product data, including product technical bulletins, installation

instructions, and product carton instructions. The latest installation instructions are available at

www.ykkap.com.

3.02  EXAMINATION

A. 	Site Verification of Conditions:  Verify conditions (which have been previously installed under other sections)

are acceptable for product installation in accordance with manufacturer's instructions.

3.03	 PREPARATION

A. 	Adjacent Surfaces Protection:  Protect adjacent work areas and finish surfaces from damage during product

installation.

3.04  INSTALLATION

A. 	General:  Install manufacturer's system in accordance with shop drawings, and within specified tolerances.

1.  	Protect aluminum members in contact with masonry, steel, concrete, or dissimilar materials using nylon

pads or bituminous coating.

2.  	Shim and brace aluminum system before anchoring to structure.

3.   	Verify curtain wall system allows water entering system to be collected in gutters and wept to exterior.

Verify weep holes are open, and metal joints are sealed in accordance with manufacturers installation

instructions.

4.   	Seal metal to metal curtain wall system joints using sealant recommended by system manufacturer.

3.05  FIELD QUALITY CONTROL

A. 	Manufacturer's Field Services:  Upon request, provide manufacturer's field service consisting of site visit for

inspection of product installation in accordance with manufacturer's instructions.

B. 	Field Test:   Conduct field test to determine watertightness of sloped glazing system. Conduct test in

accordance with AAMA 501.2-03.

3.06  ADJUSTING AND CLEANING

A. 	Adjusting:  Adjust swing doors for operation in accordance with manufacturer's recommendations.

B. 	Cleaning:  The General Contractor shall clean installed products in accordance with manufacturer's instructions

prior to owner's acceptance, and remove construction debris from project site. Legally dispose of debris.

C. 	Protection:  The General Contractor shall protect the installed product's finish surfaces from damage during

construction.

END OF SECTION

This document supersedes all previous versions.